## Slide 1: Technical Series on WASH, waste and electricity in health facilities
Healthcare Waste and Green Technologies
5 December 2023
Dr Ute Pieper, WHO Consultant (WHO WASH)

## Slide 2: Key facts
Healthcare's climate footprint is 4.4% of the global total. If the global health care sector were a country, it would be the fifth-largest greenhouse gas emitter on the planet.
Source: Arup / HCWH, Healthcare's climate footprint, 2019
Climate change and the health sector

## Slide 3: Key facts
Globally, the 3 primary sources of greenhouse gas emissions in 2019 were
  electricity and heat (31%)
  transportation (17%)
  manufacturing & construction (12%)
All the shown sectors are directly or indirectly connected to carbon footprint of the health sector.
Source: https://www.climatewatchdata.org/data-explorer/historical-emissions
Sources of greenhouse gas emissions
Sum: 51.0619 billion t
Waste in specific: ~ 3,2 %
Notes:   A greenhouse gas (GHG) is a gas that absorbs and emits radiant energy at thermal infrared wavelengths, causing the greenhouse effect. The primary greenhouse gases in Earth's atmosphere are water vapor (H2O), carbon dioxide (CO2), methane (CH4), nitrous oxide (N2O), and ozone (O3).
  These GHGs are shown as CO2-eq: it is a metric measure used to compare the emissions from various greenhouse gases on the basis of their global-warming potential (GWP). E.g. On a 100-year timescale, methane has 28 times greater global warming potential than carbon dioxide and has therefore a higher GWP.

## Slide 4
2
Selecting of treatment technologies
https://www.who.int/publications/i/item/9789241516228
The choice of treatment system is contextual and involves consideration of:
National & international regulations
Environmental and occupational safety factors
Type & quantity of waste generated
Technology capabilities and requirements
Available budget (for investment and maintenance)
Operation and maintenance requirements
Infrastructure (space)
Available energy (electricity, water, fuel etc.)
Available final disposal options (recycling, landfill)
WHO’s overview of technologies provides guidance for health care facility administrators and planners, WASH and infection prevention control staff, national planners, donors and partners.

## Slide 5
2
Hierarchy of waste treatment options
Segregation
Collection
Transport
Storage
Treatment
Final disposal
Minimization
Preferred options: Technologies in accordance with International Conventions
Interim solutions: Technologies used to incrementally improve practices and move towards meeting international standard
Last resort option: Where there are no alternative treatment options

## Slide 6
  Air is mechanically removed by a vacuum-pump: single pre-vacuum or fractionated vacuum
  Decontamination of waste at 121 – 134 °C by steam
Considerations:
  Waste is recognizable:
    It can be reused (e.g., illicit reselling of vials)
    It can be recycled (e.g., plastic of the syringes)
  380/400 V or 240 V electricity connection is needed
  Reliable water connection and specific water quality (soft water)
1 bar
0,1 bar
Inside -Pressure
Vacuum
Treatment
Steam injection
2 bar
Time
Low heat: Vacuum Autoclaves

## Slide 7
Hybrid Autoclaves (with shredder)
The waste is shredded before treatment ensure that the steam can reach all surfaces of the waste for decontamination.
Considerations:
  Shredders are expensive (investment and operation)
  380/400 V electricity connection is needed
  Reliable water connection
  Waste is rendered in small pieces (shredder):
    Waste is unrecognizable
    Reduction of volume
    Illicit reselling of decontaminated materials not possible
Notes: The French-built Ecodas is a vertical autoclave with an internal shredder. It is a pressure vessel containing a two-shaft shredder inside the vessel. After the waste is placed in the vessel at the top and sealed, the waste is first shredded and then steam is injected into the vessel. Since the inside of the whole vessel is heated to 138 °C and a pressure of 3.8 bars, only about 10 minutes of exposure is needed to reach high levels of disinfection, after which cooling water is sprayed along the outside walls of the inner chamber to cool the waste to 80 °C. A vacuum cycle is used to condense steam from the waste after which the bottom lid is opened to unload the treated waste at the bottom onto a bin.
Hybrid steam treatment systems with internal shredding can be used for anatomical waste or body parts.

## Slide 8: Waste Microwaves with shredder
In modern non-vacuum system, waste must be shredded prior to the disinfection process.
The shredded waste gets in the treatment chamber and will be transported by a screw for a defined time. Here, it will be penetrated by steam at a temperature of about 100 – 110°C.
The steam will be produced by microwaves, or the transporting screw will be heated by thermal oil.
Considerations:
  Shredders are expensive (investment and operation)
  380/400 V electricity connection is needed
  Waste is unrecognizable / reduction of volume / NO Illicit reselling of decontaminated materials possible
  No or little use of water
Note: waste must be humid to guarantee heating up by the microwaves!
Some microwaves have a water injection technology included.

## Slide 9: With or without shredder?
Microwave with shredder
Electricity: 380/400 Volt
Water connection (some brands)
Autoclave without Shredder
Electricity: 380/400 Volt
Water connection
Quality of water for steam generation:
    soft water / demineralized water
Wastewater connection
Chart: 
| 100 | 175 | 300 | 500
Energy Consumption (kWh / cycle): | 20 | 45 | 60 | 100
Chart: Capacity kg / cycle
| 40 | 70 | 150 | 500 | 800
Energy consumption (kWh/cycle): | 7 | 17 | 21 | 40 | 56
Capacity kg / cycle
Note: one cycle of a washing machine consumes 0,6 to 1 kWh (7 kg/cycle) = 500 kg / cycle would be 42-71 kWh (like the autoclave in this example)
Electricity considerations

## Slide 10: Case Study: solar energy use for autoclaving in Madagascar
Result of the UNDP GEF project Africa
Installation of an 80-liter waste autoclave in a referral hospital (15 kg of infectious waste per day)
Infrastructure:
    Housing was constructed (storage room, autoclave room)
    Electricity connection: high voltage (3-phase), 380 Volt
    Water connection
Obstacle: not sufficient budget for electricity
Solution:
  solar PV panels of total 3 kW capacity based on a Silicon monocrystal technology was installed on the roof (including 200 Ampere Batterie)
  The PV system was installed in summer 2018
  providing about 25% of the total electricity consumption of the hospital

## Slide 11: Conclusions/recommendations
Think out of the box:
  How to minimize the generated waste?
  Is reverse logistics possible to prevent onsite waste treatment
  Can central waste treatment technologies be used?
  Is the solarization of the HCF an option to operate non-incineration technologies?
The local situation must be assessed to select the best available option for the specific situation (water, electricity, space, capacity, budget…)
Alternative treatment technologies should be preferred to incineration (no greenhouse gas emissions, no hazardous ash)
Technologies with integrated or post shredder is more energy (and cost) intensive as an additional process is included – advantage: the waste is unrecognizable.
The cost of the technology is not only the investment but also the ongoing operation and maintenance costs.

## Slide 12
Thank you and Join the Action
For more information and to get involved contact:
washinhcf@who.int
WASH in HCF knowledge portal:
www.washinhcf.org
Twitter: @WASH_for_health

## Slide 13
WHO WASH health care waste page
WASH in Health Care Facilities portal
WHO Infection prevention and control page
WHO occupational health page
Websites & Social Media
Global analysis of health care waste in the context of COVID-19 (2022)
WASH and COVID 19 technical brief (2020)
Overview of technologies for the treatment of infectious and sharp waste from health care facilities (2019)
WHO Safe management of wastes from health care activities (2017)
IPC/WASH Covid guidance
WHO manifesto for a healthy recovery from COVID-19: prescriptions and actionables for a healthy and green recovery (2020)
Compendium of WHO and other UN guidance on health and environment (section on priority settings, including health care facilities (2021)
WASH FIT Tool
Documents & Tools
Sudden increases in volumes
Keeping health workers safe
Follow the waste hierarchy model
Nearly 1/3 of PPEshipped cannot be safely bagged or stored
The COVID-19 response is generating a mountain of extra waste
Infographics
Videos & Courses
Cleaning and Disinfection
Waste Management
Training modules in health-care waste management
COVID-19 and work: Staying healthy and safe at work during the COVID-19 pandemic
Healthy and safe telework
Occupational health and safety for health workers in the context of COVID-19
All-Hazard Rapid Response Teams Training Package
Occupational safety and health in public health emergencies: a manual for protecting health workers and responders
HealthWISE - Work Improvement in Health Services
Technical resources
Environmental cleaning in the context of Covid-19.
Monitoring and valuing WASH and waste services in health care facilities for safer, more equitable care.
Training
SEARO- Certificate in health care waste management
Global- OpenWHO e-learning course on standard precautions in health-care waste management
HCWM module of WASH FIT
3-day basic course on HCWM
Training modules in health-care waste management - 25 Modules

## Slide 14: Health Care Waste & Green Technologies
UNDP DIGITAL HUB & INDONESIA COUNTRY OFFICE
5 DECEMBER 2023

## Slide 15: Challenges of Medical Care Waste and Green in Indonesia
Poor Visibility
Incomplete and Delayed Report
Poor Waste Segregation
Inefficiency
Multiple Stakeholders
(MoH, MoEF, third party)
VS
Unmatched Treatment
Capacity Vs. Waste Burden

## Slide 16: Negative Impact
Illegal Dumping
Health and
Environmental Hazard or
Contamination
High Cost

## Slide 17: What is ME-SMILE?
MEDICAL WASTE IN SMILE
Real-time management and monitoring of medical waste based on website technology and mobile applications integrated with
IOT (Internet of Things) Digital Scales and QR Label Scanners that are efficient and easy to use for accountable labeling, weighing,
recording and reporting of medical waste data.
Technological innovation to strengthen
the medical waste chain system in Indonesia.

## Slide 18: ME-SMILE Project Design
Hardware
Human Resource
Informed-Decisions
Software

## Slide 19: ME-SMILE Key Features
Identified segregated waste bags from unique code (QR)
Real Time, Accurate, and Accountable Data
IoT Scales
Cloud Server
Ministry of Health’s Mobile App and Dashboard
Operation in Ministry of Environmental
and Forestry’s Dashboard

## Slide 20: Supporting Policies
 | Waste-related | Digital-related
Global | WHO Safe management of wastes from health-care activities, 2nd ed, 2014 Overview of technologies for the treatment of infectious and sharp waste from health care facilities, WHO 2019 | UNDP Digital Strategy 2022-2025
Indonesia Ministry of Environment and Forestry (MoEF) | Law number 32 year 2009 on Environment Government Regulation number 22 year 2021 on Environmental Protection and Management. Minister of Environment and Forestry Regulation number P.56 year 2015 on Healthcare Waste Management. | 
Indonesia Ministry of Health (MoH) | Law number 17 year 2023 on Health Government Regulation number 66 year 2014 on Environmental Health Minister of Health Regulation number 2 year 2023 articulates the Government Regulation number 66 year 2014 on Environmental Health Minister of Health Regulation number 18 year 2020 on Regional-Based Healthcare Waste Management. Minister of Health Regulation number 17 year 2019 on Environmental Health in Hospitals | Indonesian Health Transformation, 6th Pillar - Transformation of Health Technology Digital Health Transformation Strategy 2024

## Slide 21: ME-SMILE Technical Guidelines 2023

## Slide 22: ME-SMILE Technical Guidelines for Health Facilities
Standard Operating Procedure (SoP)
Implementation
SoP is developed signed by
Dr. dr. Maxi Rein Rondonuwu, DHSM, MARS
Director General of Disease Prevention and Control
The implementation is regulated by the MoH
dr. Anas Ma’ruf, M.K.M.
Director of Environmental Health

## Slide 23: ME-SMILE Piloting and Scale-up
2022 3 health facilities in 2 Provinces
2023 33 hospitals in 4 provinces

## Slide 24: ME-SMILE Piloting and Scale-up 2022: 3 health facilities in 2 Provinces • 2023: 33 hospitals in 4 provinces

## Slide 25: ME-SMILE Mobile Application
Scan QR code
Add data
Waste recap
Reports
Notifications
Profile

## Slide 26: ME-SMILE Web Portal
Room/Ward List
Print label
Follow-up
Reports - Graph
Notifications
Profile

## Slide 27: ME-SMILE Web Portal

## Slide 28: ME-SMILE Corrective Measures Alert System
Generated Waste > Storage Capacity
1 Late Waste Pick-up
2
3 Late Waste Treated
4 Generated Waste > Capacity of Treatment

## Slide 29: ME-SMILE Achievements in numbers
Data as of 1 Oct 2023
32 Hospitals &
1 Health Centre
in 18 Districts,
4 Provinces
Implement ME-SMILE (July 2023)
1.900 ton
Total Waste Generated
33
IoT scale installed in 33 Health Facilities
1 ton
Average of Daily Waste Generated
841
Sanitarians trained
583.741
Total transactions in ME-SMILE
3 Hours
Time Saving
(manual vs ME-SMILE)

## Slide 30: ME-SMILE End to End Standard Operating Procedures
6
7
8
9
Waste is transported immediately
A
Loading, recap of results, and
manifest filling
Disposal or Recycle
Treatment
Transporting
9
8
11
12
6
7
C
Internal waste treatment using
autoclave
Autoclaved/ Chlorinated/ Microwaved
Non-hazardous waste temporary storage
Weighed
non-hazardous waste bag
QR coded
non-hazardous waste bag
10 Loading, recap
of results, and manifest filling
Transporting
Recyclers
6 7
8
9
11
12
B
Internal waste treatment using
incinerator
Incineration
Hazardous
waste temporary storage
Weighed
waste residues
QR coded residue bag
10 Loading, recap
of results, and manifest filling
Transporting
Landfill
1
2
3
4
5
QR Code Labels Printing + Sticking
+ Distributing
Weighing & deciding the next step
Moving waste to temporary storage
Segregation
Hazardous waste temporary storage/ cold storage
Starting from here, it is processed by a third party (Transporter)
Starting from here, it is processed by a third party (Transporter)
Starting from here, it is processed by a third party (Beneficiary Transporter)

## Slide 31: ME-SMILE Result
The initiation of ME-SMILE, 100% reporting rate and 100% are in complete report has been maintained.
The system has shortened the duration of weighing
process during waste loading in hospital from 3 to 0.5 hour, and increased the accuracy
of measuring the weighing of waste during collection and transporting.

## Slide 32: ME-SMILE Benefit
Cost efficiency
Safe environment and better health
Less contamination due to segregated waste
QR coded scanning process:
minimize direct contact of operator to waste while weighing, loading & data input
Segregated waste
(infectious waste costed more than non-infectious)
Increased weight accuracy
Recycled waste for (health facility) income generating
Safe time & human resources
Monitor waste location
More control to waste

## Slide 33: ME-SMILE Key Uptakes
Government Engagement
Software: ownerships of source code, open source
Field based sanitarians, transporters - involvement
Show evidence or example from UNDP (similar solution)

## Slide 34: Ask Me any ME-SMILE things...
a smarter way to manage waste in health facilities

## Slide 35: Greener and Safer Healthcare Waste equipment
COVID-19 context increased the volume of waste to treat
Immunization COVID-19 workplans lacked:
  Resources
  Infrastructures
  Tools
  Budgets
  Green and safe equipment
Publications from UNICEF and WHO
What motivated UNICEF EAPRO to focus on health care waste equipment?

## Slide 36: What influenced UNICEF EAPRO to green and safe?
“The ultimate aim should be use of non-burn technologies such as autoclaves”… (section 4.3.3)
World Health Organization (Feb ‎2022)‎. Global analysis of healthcare waste in the context of COVID-19: status, impacts and recommendations. World Health Organization.
https://apps.who.int/iris/handle/10665/351189. Licence: CC BY-NC-SA 3.0 IGO
“Over time, non-burn technologies cost less” … (section 4.3.3)

## Slide 37
UNICEF & WHO COVID-19 vaccination:
supply and logistics guidance (February 2021)
World Health Organization & United Nations Children's Fund (‎UNICEF)‎. (‎2021)‎. COVID-19 vaccination: supply and logistics guidance: interim guidance, 12 February 2021. World Health Organization. https://apps.who.int/iris/handle/10665/339561. Licence: CC BY-NC-SA 3.0 IGO
Section 6 of the guidance:
Follow the national guidelines and codes for final disposal – if these are not available:
Preferably use best available technologies in accordance with the Stockholm Convention, such as decontamination of waste by autoclaving or similar procedures or high-temperature incineration.

## Slide 38
38 ¦ Title of Your Presentation | 
https://www.who.int/publications/i/item/9789241516228
WHO Guide about infectious waste treatment (2019)
Technologies:
. Autoclave
. Microwave
. Heat-Friction

## Slide 39
AIMING AT SOLUTIONS THAT WOULD OFFER:
Reduction of unsafe risks to the healthcare workers during waste management operations
Reduction of exposure to dioxins and furans to the health workers, their communities and the environment
Reduction of waste volumes in health facilities; and
Bundled services, such as: installation, training, and 2-yrs warranty of HCW treatment equipment
UNICEF EAPRO SOLUTION
Establish a regional LTA to help countries procured high quality, greener and safer equipment

## Slide 40
Greener and Safer Healthcare Waste equipment
RESULTS
April 2022 – Published RFI
  22 manufacturers and suppliers responded positively
March 2023 – Published RFP
  11 manufacturers responded
November 2023 – Awarded 5 LTA

## Slide 41
Guidance and Webinar:
A technical guide on how to choose the BEST TECHNOLOGY according to a country’ context, such as: availability of water, energy, operational economy and reduction of carbon emission
A technical guide on how to procure the products using the regional “Long-Term Agreements”
Webinar where each manufacturer will present their product and where best practices will be shared by countries
UNICEF EAPRO SUPPORT
How to choose the RIGHT technology according to the COUNTRIES’ CONTEXT